| ARCTIC & FLAME HVAC & CLIMATE CONTROL SOLUTIONS 742 Climate Tech Parkway, Suite 200, Metropolis, NY 10001 Phone: (555) 382-9011 • Email: service@arcticflamehvac.com Lic #: NY-HVAC-984211 • EPA Universal Certified | SERVICE RECEIPT NO Date: August 22, 2026 Work Order: WO-10948 |
| --- | --- |

| Payment Status: PAID IN FULL | Payment Method: Visa (****4821) | Txn ID: TXN-998412-NY |
| --- | --- | --- |

| CUSTOMER & SERVICE LOCATION Customer Name: Robert & Sarah Jenkins Service Address: 1482 Oakwood Terrace, Metropolis, NY Phone Number: (555) 729-3041 Email Address: r.jenkins@example.com Billing Ref: ACCT-88102 | EQUIPMENT & SYSTEM SPECS System Type: Central AC & Heat Pump Brand / Model: Trane XV20i / 4TWX0036A Serial Number: 2140A88301 Refrigerant: R-410A (Added 2.0 lbs) Filter Size: 20" x 25" x 4" MERV 13 |
| --- | --- |

ITEMIZED SERVICES & MATERIALS

| # | Service / Item Description | Qty/Hrs | Rate ($) | Amount ($) |
| --- | --- | --- | --- | --- |
| 1 | Full HVAC Annual Maintenance & Safety Inspection Cleaned indoor & outdoor coils, checked electrical connections, tested capacitor tolerances, flushed drain line. | 1.0 | 149.00 | 149.00 |
| 2 | R-410A Refrigerant Charge Recharged system with 2.0 lbs R-410A refrigerant to achieve target subcooling (10°F). | 2.0 lbs | 48.00 | 96.00 |
| 3 | Dual-Run Capacitor Replacement (45/5 MFD 440V) Replaced weak OEM capacitor reading 18% out of spec. Installed heavy-duty USA capacitor. | 1.0 | 85.00 | 85.00 |
| 4 | High-Efficiency Air Filter (20x25x4 MERV 13) Replaced clogged filter with new high-airflow media filter. | 1.0 | 35.00 | 35.00 |

| TECHNICIAN FINDINGS & WORK PERFORMED. WARRANTY & SERVICE POLICY Labor Warranty: 90 Days from service date. Parts Warranty: 1-Year Manufacturer Warranty on replaced components.. | Subtotal:; $395.00. VIP Member Discount (10%):; -$39.50. Taxable Subtotal:; $355.50. Sales Tax (8.25%):; $29.33. TOTAL AMOUNT:; $384.83. AMOUNT PAID:; $384.83. BALANCE DUE:; $0.00. |
| --- | --- |

| _________________________________________ Technician Signature: Marcus Vance • Date: 08/22/2026 | _________________________________________ Customer Acceptance: Robert Jenkins • Date: 08/22/2026 |
| --- | --- |

THANK YOU FOR YOUR BUSINESS!